IESNA:R6HT-24-WT PL-C 26Wx2 PHILIPS

[TEST] NO.0309092

[TESTLAB] AMC Laboratory

[TESTDATE] 2003-09-22

[ISSUEDATE] 18-FEB-2001

[LAMPPOSITION] 0,0

[OTHER] EVERFINE GO1900 SYSTEM

[MANUFAC] AMC LIGHTING

[LUMCAT] R6HT-24-WT

[LUMINAIRE] 6"DOWNLIGHT

[LAMPCAT] PHILIPS PL-C 4PIN

[LAMP] 26W Compact fluorescent

[BALLAST] ADVANCE Programmed-start Electronic Ballast

[BALLASTCAT] Smart Mate ICF-2S26-M1-BS

[MAINTCAT] 4

TILT=NONE

2 1800 1 19 3 1 1 -0.525 -0.525 0

0.995 1 39.4

0 5 10 15 20 25 30 35 40 45 50 55 60 65 70 75 80 85 90

0 45 90

571.90 570.00 559.60 538.80 504.10 458.10 405.30 351.70 294.10 235.00 179.00 128.60 82.50 46.70 25.40 14.80 7.60 0.90 0.00

571.90 567.60 559.20 539.40 506.60 459.20 406.90 350.80 289.80 229.60 169.70 112.80 66.60 35.10 18.80 11.00 5.00 0.00 0.00

571.90 581.90 592.30 591.60 573.60 536.40 489.00 432.40 373.60 303.40 222.90 149.70 91.40 54.40 32.30 19.40 11.10 2.70 0.00